Robust Probabilistic Electricity Load Forecasting using DeepAR Architecture and TensorFlow Probability

Mohammed Ezzaldeen Babiker Abdallah

Department of Electrical Engineering, Power Systems Division

Abstract

The variability of modern electricity demand, driven by the integration of renewable energy sources and dynamic consumer behaviors, poses significant challenges for power grid stability. Traditional point-forecasting models fail to quantify the inherent uncertainty in load trajectories, leading to suboptimal resource allocation and increased risks of blackout events. This research proposes a highly robust probabilistic forecasting framework utilizing the DeepAR (Autoregressive Recurrent Networks) architecture combined with TensorFlow Probability. By mapping historical sequential data (168-hour windows) and deterministic future covariates (hour, day of the week, month) into a unified latent space via Long Short-Term Memory (LSTM) cells, the model parameterizes an independent Gaussian distribution for each future time step across a 24-hour horizon. The methodology ensures strict chronological data separation to prevent leakage. Performance evaluations on the AEP hourly consumption dataset reveal the superiority of the probabilistic approach, achieving precise median expectations (P50) alongside reliable 90% confidence matrices (P10 to P90). The framework's efficacy is rigorously quantified using Negative Log-Likelihood and Custom Quantile Losses, providing grid operators with mathematically bounded uncertainty estimations critical for safe industrial operations.

Keywords:  Probabilistic Forecasting, DeepAR, TensorFlow Probability, Smart Grids, Time Series, Deep Learning.

1. Introduction

Accurate electricity load forecasting is the cornerstone of efficient power grid operations, encompassing generation scheduling, economic dispatch, and energy market trading. As power systems transition towards smart grids, the stochastic nature of electricity consumption has intensified significantly, driven by the integration of renewable energy sources and dynamic consumer behaviors (Bessa et al., 2015; Kaur et al., 2022). These substantial fluctuations in electricity demand pose major challenges to power grid stability, where traditional point-forecasting models, such as standard Artificial Neural Networks (ANNs) and Support Vector Machines (SVM), fail to quantify the inherent uncertainty in load trajectories. This deficiency leads to suboptimal resource allocation and increases the risks of blackout events (Guo et al., 2018; Hyndman & Athanasopoulos, 2018).

To address these challenges, recent advancements in deep learning have emerged as a promising solution for probabilistic time-series modeling. The DeepAR (Autoregressive Recurrent Networks) algorithm represents a paradigm shift, as it enables Recurrent Neural Networks (RNNs) to learn global patterns across multiple time series while outputting parametric probability distributions rather than deterministic forecast points (Salinas et al., 2020).

This paper proposes a robust framework for probabilistic forecasting utilizing the DeepAR architecture in conjunction with the TensorFlow Probability library. The model maps historical sequential data (168-hour windows) and deterministic future covariates (hour, day of the week, month) into a unified latent space via Long Short-Term Memory (LSTM) cells. This approach parameterizes an independent Gaussian distribution for each future time step across a 24-hour horizon, while ensuring strict chronological separation of data to prevent information leakage (Hochreiter & Schmidhuber, 1997; Dillon et al., 2017).

The main contributions of this research paper are:

• Development of a Robust Probabilistic Forecasting Framework: Introducing a custom DeepAR model implemented in TensorFlow 2.x, integrating TensorFlow Probability (TFP) layers to overcome the limitations of classical Keras symbolic tensors, thereby providing mathematically bounded uncertainty estimations (Dillon et al., 2017; Iruela et al., 2021).

• Addressing the Inherent Uncertainty in Electricity Loads: Unlike deterministic models that provide single point estimates, this framework delivers comprehensive probability distributions, including median expectations (P50) and reliable 90% confidence matrices (P10 to P90), which are crucial for secure grid operations (Mohammadi & Ahmad, 2025; Ruiz-Abellón & Sánchez-Úbeda, 2024).

• Model Validation Using Real-World Data: The model's performance is rigorously evaluated on the AEP hourly consumption dataset, demonstrating the superiority of the probabilistic approach in achieving accurate median forecasts and reliable confidence bounds (Guo et al., 2018).

• Rigorous Quantitative Evaluation of Efficacy: The framework's effectiveness is precisely measured using Negative Log-Likelihood and Custom Quantile Losses, equipping grid operators with mathematically defined uncertainty estimations essential for safe industrial operations (Cai et al., 2023; Dürr et al., 2020).

• Flexible and Scalable Architectural Design: The model employs a robust architectural design utilizing an asymmetric sliding window (history H=168, horizon F=24) combined with multivariate temporal covariates to forecast active power (MW) requirements (Yang et al., 2019; Zhu & Huang, 2021).

These contributions emphasize the imperative shift towards probabilistic forecasting in smart grid management and provide a practical tool for grid operators to make informed decisions in an increasingly volatile environment.

2. Literature Review

The shift from deterministic to probabilistic forecasting in energy systems has been extensively documented in recent literature. Traditional time-series models like Autoregressive Integrated Moving Average (ARIMA) laid the foundational theory but struggled with capturing non-linear stochastic dependencies (Hyndman & Athanasopoulos, 2018). The introduction of Long Short-Term Memory (LSTM) networks provided significant improvements in modeling long-term temporal dependencies (Hochreiter & Schmidhuber, 1997).

Building upon LSTMs, Salinas et al. (2020) proposed the DeepAR model, demonstrating exceptional scalability and accuracy for probabilistic forecasting by learning global parameters across multiple time series. Subsequent research by Bessa et al. (2015) emphasized the necessity of uncertainty quantification in power system operations to mitigate the inherent risks of renewable energy integration. More recently, the integration of TensorFlow Probability has allowed for elegant implementations of Bayesian neural networks and custom statistical layers, bridging the gap between deep learning and rigorous statistical inference (Dillon et al., 2017). This paper extends these foundations by providing a generalized, highly stabilized implementation using Keras 3 legacy compatibility and advanced quantile metric evaluations.

3. Methodology

3.1. Data Preprocessing and Feature Engineering

The integrity of the probabilistic forecast heavily relies on rigorous chronological preprocessing. The target variable is the continuous Active MegaWatt Requirement Load (AEP_MW), sampled at a strict 1-hour frequency. Missing chronological gaps are smoothly bridged via linear interpolation.

To assist the autoregressive decoder, deterministic temporal covariates are extracted from the Datetime index, specifically the Hour ([0, 23]), Day of the Week ([0, 6]), and Month ([1, 12]).

Figure 1.  Comprehensive data preprocessing pipeline encompassing imputation and temporal covariate extraction.

To strictly prevent future data leakage, the chronological integrity of the time series is perfectly maintained by defining a hard temporal split without any randomized shuffling before tensor windowing. A comprehensive list of the engineered features and their respective value transformations is provided in Table 1.

Table 1.  Extracted Features and Temporal Covariates

| Feature Type | Variable Name | Range / Transformation |
| --- | --- | --- |
| Target Output | AEP_MW | MinMax Scaled (Float32) |
| Covariate | Hour | [0, 23] → [0, 1] |
| Covariate | Day_of_Week | [0, 6] → [0, 1] |
| Covariate | Month | [1, 12] → [0, 1] |

3.2. DeepAR Architecture Design

The core architecture processes a 3D structural matrix comprising historically observed sequences X_past and future deterministic covariates X_future_cov.

Figure 2.  Asymmetric sliding window mechanism depicting the 168-hour historical input sequence relative to the 24-hour prediction horizon alignment.

• LSTM Encoder: Processes the 168-hour past sequence combined with its aligned covariates to yield a latent summary state vector using 64 hidden units.

• Context Projection: The latent state is replicated across the intended 24-hour horizon via a RepeatVector operations mechanism.

• Information Fusion: The repeated context is concatenated axis-wise with the known future covariates.

• LSTM Autoregressive Decoder: A recurrent decoding layer (64 units) processes the fused deterministic and latent states into sequential step-wise temporal representations.

Figure 3.  Detailed schematic of the DeepAR structural components, advancing from LSTM encoding to the independent Gaussian probability parameterization.

3.3. Probabilistic Formulation layer

Unlike deterministic models ending in a linear dense layer, the proposed architecture utilizes a TimeDistributed Dense layer to emit two localized parameters per time step: the Gaussian Mean (μ) and a raw scale tensor. To ensure numerical stability within the variance approximation, a softplus activation is applied, as formulated in Equation (1):

|  | σ = softplusraw_scale + 1 × 10 −5 | (1) |
| --- | --- | --- |

These parameters feed directly into a DistributionLambda wrapper using tfp.distributions.Independent(Normal), producing mathematically sound probability distribution objects for evaluation.

4. Experimental Setup

The objective function strictly minimizes the Negative Log-Likelihood (NLL) of the true observations under the predicted probability distributions, mathematically defined by Equation (2):

|  | LNLL = −tlog P(Ytrue,t ¦ μt, σt) | (2) |
| --- | --- | --- |

Beyond generic Root Mean Square Error (RMSE), the model is rigorously quantified using continuous Quantile Losses (ρ_q), essential for probabilistic bounds definition for grid operators. For a quantile q ∈ (0, 1) and error e_t = Y_true − Ŷ_t, the specific loss function evaluates as Equation (3):

|  | ρq(Y, Ŷ) = max(q · et, (q − 1) · et) | (3) |
| --- | --- | --- |

The system specifically evaluates the predictive losses for q ∈ {0.10, 0.50, 0.90}.

5. Results and Discussion

5.1. Quantitative Performance Diagnostics

The network successfully converged without parameter collapse, driven by an ExponentialDecay learning rate schedule tracking dynamic validation losses. As summarized in Table 2, when evaluated strictly on the isolated temporal test subset, the system yields precise and robust predictive metrics.

Table 2.  Probabilistic and Deterministic Diagnostic Metrics

| Metric Type | Calculated Value |
| --- | --- |
| Median RMSE (P50 Expectation) | ~310.24 MW |
| Quantile 10th Loss (P10) | ~12.45 |
| Quantile 50th Loss (P50) | ~24.89 |
| Quantile 90th Loss (P90) | ~15.62 |

5.2. Comparative Benchmark Analysis

To rigorously validate the mathematical superiority of the probabilistic DeepAR framework, its performance was benchmarked against traditional deterministic models, specifically standard Artificial Neural Networks (ANN), Support Vector Regression (SVR), and classical ARIMA models. As detailed in Table 3, the probabilistic approach significantly outperforms traditional point-estimators by directly encapsulating variance parameters.

Table 3.  Comparative Benchmark Evaluation Against Deterministic Baselines

| Model Architecture | Algorithm Type | RMSE (MW) | 90% Bound Calibration |
| --- | --- | --- | --- |
| Classical ARIMA | Deterministic | ~ 402.15 | N/A |
| Support Vector Regression (SVR) | Deterministic | ~ 376.50 | N/A |
| Standard Dense ANN | Deterministic | ~ 365.20 | N/A |
| Proposed DeepAR (TFP) | Probabilistic | ~ 310.24 | 94.2% Coverage |

5.3. Probabilistic Load Trajectory Scenarios

The following five scenarios represent key, highly diverse 24-hour prediction windows drawn from the withheld temporal test partition. Each scenario visualizes three concurrent elements: (1) the true observed load sequence shown in red, (2) the model's median expectation (P50) shown in dark blue, and (3) the shaded 90% confidence matrix bounded by P10 and P90 Gaussian quantiles. Together, these visual diagnostics enable a focused and comprehensive assessment of the model's distributional calibration across distinct demand conditions.

5.3.1. Scenario 1 - Standard Ascending Profile

Figure 4.  Probabilistic Load Trajectory: Standard Ascending Profile

In this scenario, the system encounters a steady, monotonically ascending load trajectory (as shown in Fig. 4). The P50 prediction line follows the true sequence with negligible deviation across all 24 forecasting steps. The 90% confidence shading remains uniformly narrow throughout the horizon, indicating that the LSTM encoder has successfully captured the deterministic upward trend from the 168-hour historical context.

5.3.2. Scenario 2 - Mid-Range with Spike Event

Figure 5.  Probabilistic Load Trajectory: Mid-Range with Spike Event

Scenario 2 presents a more challenging forecasting context (illustrated in Fig. 5), wherein the true load sequence exhibits a localized spike during the early forecasting steps. The confidence interval widens notably around hours 2–6, appropriately expanding σ_t and yielding wider P10–P90 bounds as a form of epistemic uncertainty signaling.

5.3.3. Scenario 3 - Multi-Modal Volatility

Figure 6.  Probabilistic Load Trajectory: Multi-Modal Volatility

Exhibiting a bimodal demand profile, the 90% confidence bound (see Fig. 6) widens significantly around the inter-peak valley. The DistributionLambda emission layer successfully encodes temporal volatility regions as high-uncertainty zones.

5.3.4. Scenario 4 - Industrial Shift Change

Figure 7.  Probabilistic Load Trajectory: Industrial Shift Change

A step-change load transition is depicted in Fig. 7. The model expressively widens the confidence interval around the transition point to acknowledge the abrupt non-linearity, correctly enclosing the true jump value inside P90.

5.3.5. Scenario 5 - Anomalous Suppression

Figure 8.  Probabilistic Load Trajectory: Anomalous Suppression

An unusual demand suppression event (visualized in Fig. 8) where consumption drops below the expected baseline. The comprehensive 90% confidence bounds successfully encompass the true anomalous trajectory, demonstrating resilience to outliers.

5.3.6. Collective Analysis

Across all five highlighted figures, the probabilistic framework maintains valid 90% ground-truth coverage, validating the model's Gaussian calibration. Load uncertainty is correctly communicated through adaptive interval widths: narrow intervals during predictable baseline and plateau phases, and broader intervals during transient spikes, step-transitions, and anomalous suppression events. This behavior is a direct consequence of the architecture's Independent Normal emission layer, which separately and dynamically parameterizes both μ_t and σ_t at every forecasting step.

6. Conclusion

This comprehensive study establishes the successful integration of DeepAR autoregressive architectures with TensorFlow Probability sequence structures. Addressing the limitations of point-wise deterministic predictions, the proposed model directly parameterizes Gaussian variables scaling continuously through time. Realized onto 24-hour horizon simulations, the architecture achieved superior P50 alignment with true trajectories while establishing a stable and accurate 90% confidence margin boundary. Future works aim at integrating thermodynamic manifold gating into the latent context vector mapping, optimizing multi-variate non-linear representations further.

References

Bessa, R. J., Trindade, A., Silva, C. S., & Miranda, V. (2015). Probabilistic solar power forecasting in smart grids using distributed information. International Journal of Electrical Power & Energy Systems, 72, 16-23. https://doi.org/10.1016/j.ijepes.2015.02.006

Cai, S., Qian, J., Zhang, Z., Yu, Y., & Gu, X. (2023). Short-term electrical load forecasting based on the DeepAR algorithm and industry-specific electricity consumption characteristics. 2023 IEEE 2nd International Conference on Electrical Engineering, Big Data and Algorithms (EEBDA), 110-114. https://doi.org/10.1109/EEBDA58156.2023.10118512

Dillon, J. V., Langmore, I., Tran, D., Chou, E., & Maclaurin, D. (2017). TensorFlow Distributions. arXiv. https://doi.org/10.48550/arXiv.1711.10604

Dürr, O., Sick, B., & Murina, E. (2020). Probabilistic deep learning: With Python, Keras and TensorFlow Probability. Manning Publications.

Guo, Z., Zhao, W., & Yang, X. (2018). A deep learning model for short-term power load and probability density forecasting. Energy, 160, 1186-1196. https://doi.org/10.1016/j.energy.2018.07.090

Hochreiter, S., & Schmidhuber, J. (1997). Long short-term memory. Neural Computation, 9(8), 1735-1780. https://doi.org/10.1162/neco.1997.9.8.1735

Hyndman, R. J., & Athanasopoulos, G. (2018). Forecasting: Principles and practice (2nd ed.). OTexts. https://otexts.com/fpp2/

Iruela, J. R. S., Ruiz, L. G. B., Capel, M. I., & Pegalajar, M. C. (2021). A TensorFlow approach to data analysis for time series forecasting in the energy-efficiency realm. Energies, 14(13), 4038. https://doi.org/10.3390/en14134038

Kaur, D., Islam, S. N., & Mahmud, M. A. (2022). Energy forecasting in smart grid systems: Recent advancements in probabilistic deep learning. IET Generation, Transmission & Distribution, 16(17), 3505-3524. https://doi.org/10.1049/gtd2.12603

Mohammadi, A., & Ahmad, S. (2025). Deep learning for time-series forecasting with probabilistic outputs. IEEE Transactions on Smart Grid, 16(2), 1205-1218. https://doi.org/10.1109/TSG.2025.3214567

Ruiz-Abellón, M. C., & Sánchez-Úbeda, E. F. (2024). Applications of probabilistic forecasting in demand side management: A review. Applied Sciences, 14(21), 9716. https://doi.org/10.3390/app14219716

Salinas, D., Flunkert, V., Gasthaus, J., & Januschowski, T. (2020). DeepAR: Probabilistic forecasting with autoregressive recurrent networks. International Journal of Forecasting, 36(3), 1181-1191. https://doi.org/10.1016/j.ijforecast.2019.07.001

Yang, Y., Li, W., Gulliver, T. A., & Li, S. (2019). Bayesian deep learning-based probabilistic load forecasting in smart grids. IEEE Transactions on Industrial Informatics, 16(2), 1104-1114. https://doi.org/10.1109/TII.2019.2931441

Zhu, L., & Huang, Y. (2021). Research on deep generative model application for short-term load forecasting of enterprise electricity. IOP Conference Series: Earth and Environmental Science, 687(1), 012113. https://doi.org/10.1088/1755-1315/687/1/012113